### CHRISTU JYOTI INSTITUTE OF TECHNOLOGY & SCIENCE

colombonagar, yeshwanthapur, janagaon-506167 Department of electrical & electronics engineering LESSON PLAN-PS-I

| Program Name: | B.TECH IN EEE | AY | 2022-23 |
| --- | --- | --- | --- |
| Course Name: | POWER SYSTEMS-1 | Class / Sem | II-II |
| Faculty Name: | O.MOHAN | Regulation | R-18 |

| S. No |  | TOPIC | SUB-TOPIC | LR. No | TA/TM | TEXT-BOOK /REFERENCE- BOOK /WEB REFERENCE |
| --- | --- | --- | --- | --- | --- | --- |
| UNIT - I GENERATION OF ELECTRIC POWER |  |  |  |  |  |  |
| 1 | Introduction |  | Introduction About Power Systems | L1 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Introduction About Power Generations | L2 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Introduction About Power Transmission | L3 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Introduction About Power Distribution | L4 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 2 | TUTORIAL-I |  | Introduction Of plants | L5 | BB | T-1,T-2,R-1,R-2 |
| 3 | Hydro Power station |  | Introduction Of Hydro Power Station | L6 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Elements Of Hydro Electric Power Station | L7 | BB | T-1,T-2,R-1,R-2, W1,W2 |

|  |  | Concept Of Hydro Electric | L8 | CS | T-1,T-2,R-1,R-2, |
| --- | --- | --- | --- | --- | --- |
|  |  | Power Station |  |  | W1,W2 |
|  |  | Pumped Storage Plants Storage | L9 | CS | T-1,T-2,R-1,R-2, |
|  |  | Requirements |  |  | W1,W2 |
|  |  | Estimation Of Power | L10 | CS | T-1,T-2,R-1,R-2, |
|  |  | Developed From A Catchment |  |  | W1,W2 |
|  |  | Area, Heads And Efficiencies |  |  |  |
|  |  | Classification Of Turbines | L11 | VL | T-1,T-2,R-1,R-2, |
|  |  |  |  |  | W1,W2 |
| 4 | R/A | Introduction of different plants. | L12 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 5 | Thermal power station | Introduction To Thermal | L13 | BB | T-1,T-2,R-1,R-2, |
|  |  | Power Station |  |  | W1,W2 |
|  |  | Line Diagram Of Thermal Power Station (TPS) | L14 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Showing Paths Of Coal Steam, | L15 | DS | T-1,T-2,R-1,R-2, |
|  |  | Water, Air, Ash And Flue |  |  | W1,W2 |
|  |  | Gasses. |  |  |  |
| 6 | Thermal power | Economiser Boiler, Super | L16 | BB | T-1,T-2,R-1,R-2, |
|  | station main | Heaters ,Turbines ,Condensers, |  |  | W1,W2 |
|  | parts | Chimney |  |  |  |
| 7 | Nuclear power station | Introduction To Nuclear Station | L17 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Nuclear Fission And Chain Reaction, Nuclear Fuels, And | L18 | Q | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Nuclear Reactors |  |  |  |
| 8 | (R/A) | Reactors Components | L19 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 9 | Nuclear | Moderators, Control Rods, | L20 | BB | T-1,T-2,R-1,R-2, |
|  | Reactors | Reflectors And Coolants |  |  | W1,W2 |
| 10 | Gas power | Gas Power Station station | L21 | PPT | T-1,T-2,R-1,R-2, |

|  |  | Principle Of Operation &Components |  | L22 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| --- | --- | --- | --- | --- | --- | --- |
| 11 | TUTORIAL-II | Introduction Of Non- Conventional Sources |  | L23 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 12 | Non- Conventional Sources | Introduction Of Non- Conventional Sources |  | L24 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Overview Of Ocean Energy& Overview Of Tidal Energy |  | L25 | PPT | T-1,T-2,R-1,R-2, W1,W |
|  |  | Overview Of Wind Energy |  | L26 | SEMINAR | T-1,T-2,R-1,R-2, W1,W |
|  |  | Overview Of Wave Energy &Overview Of Solar Energy |  | L27 | SEMINAR | T-1,T-2,R-1,R-2, W1,W2 |
| SLIP TEST-I |  |  |  |  |  |  |
| UNIT - II ECONOMICS OF GENERATION |  |  |  |  |  |  |
| 13 | Introduction |  | Introduction Of Economic Generation | L28 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Load Curve ,Load Duration Curve, Mass Curve | L29 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 14 | Economic Generation Different Terms |  | Load, Demand Diversity ,Capacity ,Utilization And Plant Use Factors | L30 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 15 | Generation Units |  | Costs Of Generation And Their Division In To Fixed, Semi Fixed And Running Costs | L31 | DEBATE | T-1,T-2,R-1,R-2, W1,W2 |
| 16 | TUTORIAL-III |  | Tariff | L32 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 17 | Tariff |  | Desirable Characteristics Of Tariff Methods | L33 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Characteristics Of Tariff | L34 | BB | T-1,T-2,R-1,R-2 |

|  |  | Flat Rate Tariff ,Block Rate Tariff | L35 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| --- | --- | --- | --- | --- | --- |
| 18 | R/A | Gate papers | L36 | BB | GATE |
| 19 | Tariff Numerical Problems | 2-Part Tariff,3- Part Tariff | L37 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Power Factor Tariff Methods | L38 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Numerical Problems | L39 | BB | T-1,T-2,R-1,R-2, W1 |
| 20 | TUTORIAL-IV | Base Load Plants &Peak Load Plants | L40 | BB | T-1,T-2,R-1,R-2, W1 |
| 21 | Base /Peak Load Plants | Base Load Plants &Peak Load Plants | L41 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 22 | R/A | Gate problems | L42 | BB | GATE |
| SLIP TEST-II |  |  |  |  |  |
| UNIT-III OVERHEAD LINE INSULATORS & INSULATED CABLES |  |  |  |  |  |
| 23 | Insulators | Introduction Of Insulators | L43 | BB | T-1,T-2,R-1,R-2, W1 |
|  |  | Introduction Of Over Head Lines, Types Of Insulators | L44 | VL | T-1,T-2,R-1,R-2, W1,W2 |
| 24 | Types Of Insulators | Pin Type Insulator | L45 | PPT | T-1,T-2,R-1,R-2, W1,W2 |
| 25 | Types Of Insulators | String Type Insulator | L46 | PPT | T-1,T-2,R-1,R-2, W1,W2 |
| 26 | Tutorial-V | Shackle Type Insulator | L47 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 27 | Potential Distribution | Potential Distribution Over A String Of Suspension Insulators, | L48 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Methods Equalizing The | L49 | BB | T-1,T-2,R-1,R-2, |

|  |  | Potential |  |  |  | W1,W2 |
| --- | --- | --- | --- | --- | --- | --- |
| 28 | Materials | Insulation, Insulating Materials, |  | L50 | BB | T-1,T-2,R-1,R-2, |
| 29 | Cable | Extra High Voltage Cables, Grading Of Cables, Insulation Resistance Of A Cable, |  | L51 | Seminar | SEMINAR BY MAJID ROL NO-204 |
| 30 | TUTORIAL-VI | Cables |  | L52 | BB | T-1,T-2,R-1,R-2, |
| 31 |  |  | Types Of Cables Capacitance | L53 | PPT | T-1,T-2,R-1,R-2, W |
|  | Capacitance Of A |  | Of A Single Core Cables, |  |  |  |
|  | Cable Calculations |  |  |  |  |  |
|  |  |  | Capacitance Of A Three Core Cables, Overhead Lines | L54 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Versus Underground Cables, |  |  |  |
| 32 | (R/A) | Previous Problems |  | L55 | BB | JNTU PAPERS |
| 33 | Numerical Problems | Problems |  | L56 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 34 | (R/A) | Previous Problems |  | L57 | BB | JNTU PAPERS |
| SLIP TEST-III |  |  |  |  |  |  |
| UNIT-IV INDUCTANCE & CAPACITANCE CALCULATIONS OF TRANSMISSION LINES |  |  |  |  |  |  |
| 35 | Inductance |  | Line Conductors | L58 | BB | T-1,T-2,R-1,R-2, |
|  | Calculations |  |  |  |  | W1,W2 |
| 36 | R/A |  | Inductance Calculations Of | L59 | BB | T-1,T-2,R-1,R-2, |
|  |  |  | Symmetrical And As |  |  | W1,W2 |
|  |  |  | Symmetrical |  |  |  |
| 37 | Capacitance Calculations |  | Capacitance Of Single Phase Three Phase Lines With Symmetrical | L60 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  |  | Capacitance Calculation Of | L61 | BB | T-1,T-2,R-1,R-2, W |

|  |  | Unsymmetrical Spacing |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Composite Conductors- Transposition | L62 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 38 | TUTORIAL-VII | CORONA | L63 | BB | T-1,T-2,R-1,R-2, W1, |
| 39 | Corona | Introduction Of Corona Bundled Conductors | L64 | BB | T-1,T-2,R-1,R-2, W1, |
| 40 | TUTORIAL-VIII |  | L65 | BB | T-1,T-2,R-1,R-2, W1, |
| 41 | Corona Losses | Disruptive Critical Voltage, Corona Loss | L66 | BB | T-1,T-2,R-1,R-2, W |
|  |  | Factors Affecting Corona Loss Methods Of Reducing Corona | L67 | D | T-1,T-2,R-1,R-2, W1, |
| 42 | R/A | Previous Problems | L68 | BB | JNTU PAPERS |
| 43 | Corona Disadvantages | Disadvantages Of Corona | L69 | BB | T-1,T-2,R-1,R-2, W1 |
|  |  | Interference Between Power Communication Lines. | L70 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 44 | Numerical Problems | Problems | L71 | BB | T-1,T-2,R-1,R-2, W1 |
| Slip Test-IV |  |  |  |  |  |
| UNIT-V A.C. Distribution & DC Distribution |  |  |  |  |  |
| 45 | Introduction Distribution | Introduction, AC Distribution | L72 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Single Phase, 3-Phase, 3 Phase 4 Wire System | L73 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 46 | TUTORIAL-IX | Bus Bar | L74 | BB | T-1,T-2,R-1,R-2, W1 |
| 47 | Bus-Bar & Substation | Bus Bar Arrangement, Selection Of Site For Substation | L75 | BB | T-1,T-2,R-1,R-2, W1 |

| 48 | Numerical Problems | Voltage Drop Calculations Problems | L76 | WMT | T-1,T-2,R-1,R-2, W1,W2 |
| --- | --- | --- | --- | --- | --- |
| 49 | Dc Distributors For The Following Cases: | Power Factors Referred To Receiving End Voltage | L77 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | With Respect To Respective Load Voltages. | L78 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 50 | R/A | Gate Problems | L79 | BB | GATE |
| 51 | Distribution Systems | Classification Of Distribution Systems | L80 | WMT | T-1,T-2,R-1,R-2, W1,W2 |
| 52 | Comparison | Comparison Of DC Vs. AC And Under- Ground Vs Over- Head Distribution System | L81 | BB | T-1,T-2,R-1,R-2, W1,W2 |
|  |  | Requirements And Design Features Of Distribution Systems.-Voltage Drop Calculations | L82 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 53 | Numerical Problems | Problems | L83 | PS | T-1,T-2,R-1,R-2, W1,W2 |
| 54 | TUTORIAL-X | GATE PROBLEMS | L84 |  | GATE |
| 55 |  | Radial D.C Distributor Fed One End And At The Both The Ends (Equal/Unequal Voltages) | L85 | BB | T-1,T-2,R-1,R-2, W1,W2 |
| 56 |  | Ring Main Distributor | L86 | BB | T-1,T-2,R-1,R-2, |
| Slip Test-V |  |  |  |  |  |

### TEACHING METHODS:

- BB: BLOCK BOARD

- VL: VIDEO LECTURE

- WMT: WHITE BOARD WITH MARKER & TALK

- Q: QUIZE

- DT: DEBATE

- D: DISCUSSION

- PS: PROBLEM SOLVING

- NPTEL: NPTEL VIDEO

- A: ANIMATION

- CS: CASE STUDY

- CL: COOPERATIVE LEARNING

- EBI: ENQUIRY BASED INSTRUCTION

- T: TUTORING

- GUEST LECTURE.

PPT: POWER POINT PRESENTATION