|  | Christu Jyothi Institute of Technology & Science Colombonagar, Yeshwanthapur, Jangaon |
| --- | --- |

##### Department of Electrical and Electronics Engineering

2022-23-3rd Year 2ndSemester

##### POWER SYSTEM PROTECTION (PSP)

LESSION PLAN

| S. No. | NAME OF THE TOPIC | Teaching Aid(TA)/Teaching Methodology(TM) | LR. No. | TEXT-BOOK /REFERENCE- BOOK /WEB REFERENCE |
| --- | --- | --- | --- | --- |
| UNIT – I : PROTECTIVE RELAYS |  |  |  |  |
| 1 | Introduction | BB | L1 | T1, T2,R1,R2,W1,W2 |
| 2 | Need for power system protection, effects of faults | DISCUSSION | L2 | T1, T2,R1,R2,W1,W2 |
| 3 | evolution of protective relays | BB | L3 | T1, T2,R1,R2,W1,W2 |
| 4 | zones of protection, primary and backup protection | BB | L4 | T1, T2,R1,R2,W1,W2 |
| 5 | essential qualities of protection | BB | L5 | T1, T2,R1,R2,W1,W2 |
| 6 | classification of protectiverelays and schemes | BB | L6 | T1, T2,R1,R2,W1,W2 |
| 7 | current transformers potential transformers, basic relay terminology. | BB/PPT | L7 | T1, T2,R1,R2,W1,W2 |
| 8 | Working principle | BB/PPT | L8 | T1, T2,R1,R2,W1,W2 |

|  | of electromagnetic relays and thermal relays |  |  |  |
| --- | --- | --- | --- | --- |
| 9 | Working principle of microprocessor based relays | BB/PPT | L9 | T1, T2,R1,R2,W1,W2 |
| 10 | Tutorial-I | BB | L10 | T1, T2,R1,R2,W1,W2 |
| 11 | Tutorial-II | BB | L11 | T1, T2,R1,R2,W1,W2 |
| 12 | G1 | Seminar with PPT | L12 | T1, T2,R1,R2,W1,W2 |
| 13 | G2 | Seminar with PPT | L13 | T1, T2,R1,R2,W1,W2 |
| 14 | R/A | BB | L14 | T1, T2,R1,R2,W1,W2 |
| 15 | R/A | BB | L15 | T1, T2,R1,R2,W1,W2 |
| Slip Test-I |  |  |  |  |
| UNIT – II: OVER-CURRENT PROTECTION |  |  |  |  |
| 16 | Time-current characteristics, current setting, over current protective schemes, directional relay | BB | L16 | T1, T2,R1,R2,W1,W2 |
| 17 | protection of parallel feeders, protection of ring mains, Phase fault and earth fault protection | BB | L17 | T1, T2,R1,R2,W1,W2 |
| 18 | Combined earth fault and phase fault protective scheme, Directional earth fault relay. | BB/PPT | L18 | T1, T2,R1,R2,W1,W2 |

| 19 | Impedance relay, reactance relay, MHO relay | MODELS | L19 | T1, T2,R1,R2,W1,W2 |
| --- | --- | --- | --- | --- |
| 20 | input quantities for various types of distance relays, Effect of arc resistance | BB | L20 | T1, T2,R1,R2,W1,W2 |
| 21 | Effect of power swings, effect of line length and source impedance on the performance of distance relays | BB | L21 | T1, T2,R1,R2,W1,W2 |
| 22 | selection of distance relays. | BB | L22 | T1, T2,R1,R2,W1,W2 |
| 23 | MHO relay with blinders, Reduction of measuring units | BB/PPT | L23 | T1, T2,R1,R2,W1,W2 |
| 24 | switched distance schemes, auto re- closing. | BB | L24 | T1, T2,R1,R2,W1,W2 |
| 25 | Tutorial-I | BB | L25 | T1, T2,R1,R2,W1,W2 |
| 26 | Tutorial-II | BB | L26 | T1, T2,R1,R2,W1,W2 |
| 27 | G1 | Seminar with PPT | L27 | T1, T2,R1,R2,W1,W2 |
| 28 | G2 | Seminar with PPT | L28 | T1, T2,R1,R2,W1,W2 |
| 29 | R/A | BB | L29 | T1, T2,R1,R2,W1,W2 |
| 30 | R/A | BB | L30 | T1, T2,R1,R2,W1,W2 |
| Slip Test-II |  |  |  |  |
| UNIT – III: PILOT RELAYING SCHEMES |  |  |  |  |
| 31 | Wire Pilot protection, | BB | L31 | T1, T2,R1,R2,W1,W2 |
| 32 | Carrier current protection | BB | L32 | T1, T2,R1,R2,W1,W2 |

| 33 | Protection of Generators | PPT | L33 | T1, T2,R1,R2,W1,W2 |
| --- | --- | --- | --- | --- |
| 34 | Protection of transformers | PPT | L34 | T1, T2,R1,R2,W1,W2 |
| 35 | Bus- zone protection | PPT | L35 | T1, T2,R1,R2,W1,W2 |
| 36 | frame leakage protection. | BB | L36 | T1, T2,R1,R2,W1,W2 |
| 37 | Tutorial-I | BB | L37 | T1, T2,R1,R2,W1,W2 |
| 38 | Tutorial-II | BB | L38 | T1, T2,R1,R2,W1,W2 |
| 39 | G1 | Seminar with PPT | L39 | T1, T2,R1,R2,W1,W2 |
| 40 | G2 | Seminar with PPT | L40 | T1, T2,R1,R2,W1,W2 |
| 41 | R/A | BB | L41 | T1, T2,R1,R2,W1,W2 |
| 42 | R/A | BB | L42 | T1, T2,R1,R2,W1,W2 |
| Slip Test-III |  |  |  |  |
| UNIT – IV: STATIC RELAYS |  |  |  |  |
| 43 | Amplitude and Phase comparators | BB | L43 | T1, T2,R1,R2,W1,W2 |
| 44 | Duality between AC and PC | BB | L44 | T1, T2,R1,R2,W1,W2 |
| 45 | Static amplitude comparator,. | BB | L45 | T1, T2,R1,R2,W1,W2 |
| 46 | integrating and instantaneous comparators | BB | L46 | T1, T2,R1,R2,W1,W2 |
| 47 | static phase comparators | BB/PPT | L47 | T1, T2,R1,R2,W1,W2 |
| 48 | coincidence type of phase comparator | BB | L48 | T1, T2,R1,R2,W1,W2 |

| 49 | static over current relays | PPT | L49 | T1, T2,R1,R2,W1,W2 |
| --- | --- | --- | --- | --- |
| 50 | static directional relay | BB | L50 | T1, T2,R1,R2,W1,W2 |
| 51 | static differential relay | BB | L51 | T1, T2,R1,R2,W1,W2 |
| 52 | static distance relays | BB | L52 | T1, T2,R1,R2,W1,W2 |
| 53 | Multi input comparators | BB | L53 | T1, T2,R1,R2,W1,W2 |
| 54 | concept of Quadrilateral and Elliptical relay characteristics | BB | L54 | T1, T2,R1,R2,W1,W2 |
| 55 | Microprocessor based relays and its advantages, over current relays | PPT | L55 | T1, T2,R1,R2,W1,W2 |
| 56 | directional relays | ANIMATION | L56 | T1, T2,R1,R2,W1,W2 |
| 57 | distance relays | DISCUSSION | L57 | T1, T2,R1,R2,W1,W2 |
| 58 | Tutorial-I | BB | L58 | T1, T2,R1,R2,W1,W2 |
| 59 | Tutorial-II | BB | L59 | T1, T2,R1,R2,W1,W2 |
| 60 | G1 | Seminar with PPT | L60 | T1, T2,R1,R2,W1,W2 |
| 61 | G2 | Seminar with PPT | L61 | T1, T2,R1,R2,W1,W2 |
| 62 | R/A | BB | L62 | T1, T2,R1,R2,W1,W2 |
| 63 | R/A | BB | L63 | T1, T2,R1,R2,W1,W2 |
| Slip Test-IV |  |  |  |  |
| UNIT – V: CIRCUIT BREAKERS |  |  |  |  |
| 64 | Introduction , arcing in circuit breakers | BB/PPT | L64 | T1, T2,R1,R2,W1,W2 |

| 65 | Arc interruption theories, re- striking and recovery voltage | BB | L65 | T1, T2,R1,R2,W1,W2 |
| --- | --- | --- | --- | --- |
| 66 | Resistance switching, current chopping, interruption of capacitive current | BB, Model | L66 | T1, T2,R1,R2,W1,W2 |
| 67 | Oil circuit breaker, air blast circuit breakers, SF6 circuit breaker | BB | L67 | T1, T2,R1,R2,W1,W2 |
| 68 | Operating mechanism, selection of circuit breakers, high voltage breakers, ratings of circuit breakers, testing of circuit breakers. | BB | L68 | T1, T2,R1,R2,W1,W2 |
| 69 | Introduction, fuse characteristics | BB | L69 | T1, T2,R1,R2,W1,W2 |
| 70 | Types of fuses | BB | L70 | T1, T2,R1,R2,W1,W2 |
| 71 | Application of HRC fuses | PPT | L71 | T1, T2,R1,R2,W1,W2 |
| 72 | Discrimination | PPT | L72 | T1, T2,R1,R2,W1,W2 |
| 73 | Tutorial-I | BB | L73 | T1, T2,R1,R2,W1,W2 |
| 74 | Tutorial-II | BB | L74 | T1, T2,R1,R2,W1,W2 |
| 75 | G1 | Seminar with PPT | L75 | T1, T2,R1,R2,W1,W2 |
| 76 | G2 | Seminar with PPT | L76 | T1, T2,R1,R2,W1,W2 |
| 77 | R/A | BB | L77 | T1, T2,R1,R2,W1,W2 |
| 78 | R/A | BB | L78 | T1, T2,R1,R2,W1,W2 |
| Slip Test-V |  |  |  |  |

##### Summary of Lesson Plan:

  - No. of Teaching lecture using Block Board(BB):56

  - No. of Seminar lecture using Power Point Presentations(PPT): 24

  - No. of Teaching Aid(TA):02

  - No. of Teaching Methodology(TM):06

##### Suggested Text books:

    - Badriram and D.N. Vishwakarma, Power System Protection and Switchgear, TMH 2001.

    - U.A.Bakshi, M.V.Bakshi: Switchgear and Protection, Technical Publications, 2009.

##### Reference Book:

- R1: C.Russel Mason – “The art and science of protective relaying, Wiley Eastern, 1995

- R2: L.P.Singh “Protective relaying from Electromechanical to Microprocessors”, New Age International

##### Web References:

  - W1 NPTEL :: Electrical Engineering - NOC:Power System Protection and Switchgear

  - W2: Power System Protection - Course (nptel.ac.in)